## Slide 1: The Hierarchy of Private Water Supplies
Introduction
Let’s talk about Nigel
The Source of Nigel’s problems
Nigel’s Options
Nigel’s L.A.
Summary

## Slide 2: Introduction
The Hierarchy of Private Water Supplies
My Background
HighWater

## Slide 3: Client Coverage
The Hierarchy of Private Water Supplies

## Slide 4: Let’s talk about Nigel
The Hierarchy of Private Water Supplies
The phone call
The Regulations
The Risk Assessment

## Slide 5: The Source of Nigel’s problems
The Hierarchy of Private Water Supplies
The Hierarchy:
  Mains Water
  A true spring (?)
  Borehole
  Surface supply (stream, loch, pond, ditch, RWH, shallow well)

## Slide 6: Nigel’s Options
The Hierarchy of Private Water Supplies
Improve the source
Establish a borehole supply
Manage expectations
Complete design & installation

## Slide 7: Nigel’s L.A. - Considerations
The Hierarchy of Private Water Supplies
Water Storage Tank – Size?
20 micron?
WSP
UV Alarm
    Lamp Fail / Power Fail (?)
    Audio/Visual/Solenoid Shut-off (?)

## Slide 8: Summary
The Hierarchy of Private Water Supplies
Is Nigel happy?

## Slide 9: The Hierarchy of Private Water Supplies 1

## Slide 10: Summary
The Hierarchy of Private Water Supplies
Q & A
  Spare Oasis tickets? (asking for a friend)

## Slide 11: The Hierarchy of Private Water Supplies 2